## Slide 1: Cooperation & Collaboration
Marc Thalacker
Three Sisters Irrigation District
How a Little Central Oregon Irrigation District
Got to See a Miracle Happen

## Slide 2: Open Ditch Liabilities
Ditch Loss
Pollution
Flood Damage
Safety
Maintenance Nightmares
Operating Inefficiency

## Slide 3: Old Aging Infrastructure

## Slide 4: Newer Aging Infrastructure

## Slide 5: Building Relationships
You have to find collaborative partners
  Conservancies
  Watershed Councils
  Soil and Water Conservation Districts
Consensus is Difficult

## Slide 6: Cooperative Partnership Goals
Water Conservation
Energy Conservation
Carbon Footprint Reduction
Sustainable Agriculture
Anadromous Re-introduction
Stream Restoration
Made Possible by Statute

## Slide 7: Making a difference
1998 first started piping
2001 Cloverdale Project
2005 McKenzie Canyon Project
2009 Whychus Creek Diversion and Fish Screen
2010 Watson to McKenzie Main Canal Pipeline
2014 Watson Hydroelectic Facility
2018 Watson Net Metering Micro-Hydro Demonstration Project
2018 McKenzie Reservoir Hydroelectric Facility
2018 Completion of the piping of all 31.5 miles of District canals
2020 Completion of the piping of all 28 miles of private lateral canals
2021 TSID has a Carbon Neutral Footprint

## Slide 8: Eat the Elephant One Bite at a Time
Screening and Passage
Penstock in Phases
Hydro

## Slide 9: Stream Restoration

## Slide 10: Headwall for Fish Screen

## Slide 11: Restoration Construction

## Slide 12: How it Works
farmerscreen.org

## Slide 14: Completed Fish Screen

## Slide 15: No Moving Parts or Power

## Slide 16: Trucks Arrive with HDPE

## Slide 17: Double S Turn

## Slide 18
Obstacles

## Slide 19
Highway 20 Bridge

## Slide 20
ODOT Retires Bridge Over Canal

## Slide 21: Penstock
Notes: Done in 3 phases.

## Slide 22: Keeco Cranes

## Slide 23: Penstock at Powerhouse Site

## Slide 24: Z-Pipe

## Slide 25: Tailrace

## Slide 26: Embedment

## Slide 27: Electrical Controls

## Slide 28: Mechanical Installation

## Slide 29: Powerhouse

## Slide 30: Benefits
Water Conservation – Elimination of existing canal seepage and evaporation. On Farm deliveries increased by 25% when water was short.
Augmented in-stream flows in Whychus Creek benefits Redband and Bull Trout, Chinook and Steelhead. Completion brings 35 cfs of protected flow.
Fish Conservation. State of the art Farmer’s Conservation Fish Screen.
Improved control of water in conveyance and delivery system. All 193 farms will be metered.
Reduction of operational losses and safety issues. (Canal Breeching)
Pressurization of delivery to irrigators.
Electrical power conservation. Over 9 million kWh conserved annually.
Three Hydro facilities generating clean, green, renewable energy, generating 4 million kWh annually.
Increased economic inputs into the local community. Currently TSID’s farmers are spending an additional $1-2 million dollars annually with delivery of pressurized water on farm.
As of 2020 TSID will be carbon neutral with the energy generation, conservation and crops grown.

## Slide 31: Conceptual Project Design
Net Meter / Micro-Hydro Demonstration Project

## Slide 32: Net Meter/Micro Hydro Demonstration Project

## Slide 33: Project Funding

## Slide 34: 150 kW Horizontal Francis Turbine

## Slide 35: 22.38 kW Vertical Francis Turbine

## Slide 36: 14 kW Reverse Pump

## Slide 37: 11.19 kW 2 Nozzle Tangential Impulse Pelton

## Slide 38: McKenzie Reservoir 300 kW Hydro

## Slide 39
McKenzie Hydro Approach Pipe

## Slide 40
Partnerships & Funding

## Slide 41
https://vimeo.com/326359384